## Points List
Page # | Drawing Title | Drawing Number | Tag | Device Type | Point Type | Point Description | Confidence
3 | Unknown (title block not visible) | Unknown | S1HWP-01 | Pump | DO | Start | medium
3 | Unknown (title block not visible) | Unknown | S1HWP-01 | Pump | DI | Run | medium
3 | Unknown (title block not visible) | Unknown | S1HWP-01 | Pump | DI | Trip | medium
3 | Unknown (title block not visible) | Unknown | S1HWP-02 | Pump | DO | Start | medium
3 | Unknown (title block not visible) | Unknown | S1HWP-02 | Pump | DI | Run | medium
3 | Unknown (title block not visible) | Unknown | S1HWP-02 | Pump | DI | Trip | medium
3 | Unknown (title block not visible) | Unknown | S1HWP-03 | Pump | DO | Start | medium
3 | Unknown (title block not visible) | Unknown | S1HWP-03 | Pump | DI | Run | medium
3 | Unknown (title block not visible) | Unknown | S1HWP-03 | Pump | DI | Trip | medium
4 | Unknown | Unknown | CV-S-01 | Control/Modulating Valve | AO | Position | high
4 | Unknown | Unknown | CV-S-01 | Control/Modulating Valve | AI | Feedback | high
4 | Unknown | Unknown | T1 | Temperature Transmitter | AI | Temperature | low
5 | Not visible in provided crop | Unknown | CV-DHW-01 | Control/Modulating Valve | AO | Position | high
5 | Not visible in provided crop | Unknown | CV-DHW-01 | Control/Modulating Valve | AI | Feedback | high
5 | Not visible in provided crop | Unknown | CV-DHW-02 | Control/Modulating Valve | AO | Position | high
5 | Not visible in provided crop | Unknown | CV-DHW-02 | Control/Modulating Valve | AI | Feedback | high
5 | Not visible in provided crop | Unknown | PHP-01 | Pump | DO | Start | high
5 | Not visible in provided crop | Unknown | PHP-01 | Pump | DI | Run | high
5 | Not visible in provided crop | Unknown | PHP-01 | Pump | DI | Trip | high
5 | Not visible in provided crop | Unknown | VSD-PHP-01 | Variable Speed Drive | DO | Enable | medium
5 | Not visible in provided crop | Unknown | VSD-PHP-01 | Variable Speed Drive | AO | Speed | medium
5 | Not visible in provided crop | Unknown | VSD-PHP-01 | Variable Speed Drive | DI | Run | medium
5 | Not visible in provided crop | Unknown | VSD-PHP-01 | Variable Speed Drive | DI | Fault | medium

## Summary
Page # | Drawing Title | Drawing Number | Devices | Total Points | AI | AO | DI | DO
2 | UNKNOWN | UNKNOWN | 0 | 0 | 0 | 0 | 0 | 0
3 | Unknown (title block not visible) | Unknown | 3 | 9 | 0 | 0 | 6 | 3
4 | Unknown | Unknown | 2 | 3 | 2 | 1 | 0 | 0
5 | Not visible in provided crop | Unknown | 4 | 11 | 2 | 3 | 4 | 2
| TOTAL |  | 9 | 23 | 4 | 4 | 10 | 5

## All Pages
Page # | Relevant? | Drawing Title | Reasoning
1 | No | — | The image contains general notes/annotations about theatre subcircuits and HVAC with no visible P&ID/HVAC schematic elements.
2 | Yes | UNKNOWN | The image is a mechanical/steam P&ID-style schematic (headers, PRV, separator SEP-01).
3 | Yes | Unknown (title block not visible) | The image shows a mechanical/hydronic schematic with existing headers and labeled heating water pumps.
4 | Yes | Unknown | The image shows a mechanical/HVAC schematic with tagged control valve (CV-S-01).
5 | Yes | Not visible in provided crop | DHW equipment with clear instrumentation/control tags.
6 | No | — | The image is a demolition layout plan without instrumentation tags or control schematics.